## Slide 1: Fetal Ultrasound Image Segmentation for Measuring Biometric Parameters Using Multi-Task Deep Learning
111032003 黃建傑

## Slide 2: Introduction
在胎兒診斷中，超音波是很普遍的檢查方式，有五種方式來觀察胎兒參數 :
腹圍(abdominal circumference)
雙頂徑(biparietal diameter)
肱股長(humerus length)
頭臀長(crown-rump length)
頭圍(Head circumference,HC)
這篇主要估計HC，來判斷胎兒大小、有無異常及計算孕齡。

## Slide 3: 超音波的優缺點： (比起電腦斷層掃描CT和核磁共振成像MRI)
超音波的優點：
1.非入侵性、便宜、可攜帶、廣佈
2.它能幫助分析身體內部器官的疼痛、腫瘤、感染。

## Slide 4: 超音波的優缺點： (比起電腦斷層掃描CT和核磁共振成像MRI)
超音波缺點:
1. motion blurring (模糊 )
2. 遺失輪廓邊界
3. 低的signal-to-noise ratio ，雜點多
醫學上主要以有經驗豐富的超音波師來判斷及操作

## Slide 5: Proposed method
Fig. 2 illustrates a block diagram of the proposed system, including two main modules:
A segmentation network and an Ellipse Tuner.

## Slide 6: Segmentation network
Cross-entropy
Dice metric
Weighting map

## Slide 7: Ellipse Tuner
Locus
Tangential Circle

## Slide 9: Multi-Task

## Slide 10: A.Dataset
999 two-dimensional ultrasound images of HC
The size of ultrasound images is (800,540)
Scale of pixel sizes is in the range 0.052 mm to 0.326 mm.

## Slide 11: B.Augmentation
Each image by horizontal and vertical flipping, as well as using fixed rotations from -60 to 60 in steps of 20 degrees.
Remove the corrupted images from the training set and keep images with a complete fetal head.
Generated 8823 augmented US images in total.
(75%, 25%) for training and test.
10% of the training set as validation data.

## Slide 12: Evaluation
Dice Similarity Coefficient
Difference
Absolute Difference
Hausdorff Distance

## Slide 13
Figure 1. Comparison of segmentation results
Table 1. Segmentation of fetal head
Figure 2. Comparison of segmentation results

## Slide 14: Conclusion
The proposed system incorporated an Ellipse Tuner based on fully connected networks. We demonstrated that the performance of a multitask network is better than the single-task network with no Ellipse Tuner and leads to smoother and cleaner elliptical segmentation results.